## Sheet1
Location | Type | BR Name | Card | Eplan name
CC1 | DigitalOutput01 | ModixReadyToStart | AF102 | READY TO START FOR EXTERNAL PROCESS
CC1 | DigitalOutput02 | WaterPump_MCT | AF102 | WATER CIRCULATION PUMP CONTACTOR
CC1 | DigitalOutput03 | VacyymPump_MCT | AF102 | VACUUM PUMP CONTACTOR
CC1 | DigitalOutput04 | WaterFillValve | AF102 | WATER FILL VALVE
CC1 | DigitalOutput05 | SequenceOnLED | AF102 | SEQUENCE ON
CC1 | DigitalOutput06 |  | AF102
CC1 | DigitalOutput07 | NAOH PUMP CONTROL | AF102 | NAOH PUMP CONTROL
CC1 | DigitalOutput08 | LIGHT TOWER SCRUBBER OFF | AF102 | LIGHT TOWER SCRUBBER OFF
CC1 | DigitalOutput09 | LIGHT TOWER VACUUM OFF | AF102 | LIGHT TOWER VACUUM OFF
CC1 | DigitalOutput10 | LIGHT TOWER CHECK pH | AF102 | LIGHT TOWER CHECK pH
CC1 | DigitalOutput11 | LIGHT TOWER WATER LEVEL LOW | AF102 | LIGHT TOWER WATER LEVEL LOW
CC1 | DigitalOutput12 | LIGHT TOWER ALARM SOUND ON | AF102 | LIGHT TOWER ALARM SOUND ON
CC1 | DigitalInput01 | WATER PUMP EDM | AF103 | WATER PUMP EDM
CC1 | DigitalInput02 | VACUUM PUMP EDM | AF103 | VACUUM PUMP EDM
CC1 | DigitalInput03 |  | AF103
CC1 | DigitalInput04 | WATER PUMP OVERLOAD | AF103 | WATER PUMP OVERLOAD
CC1 | DigitalInput05 | VACUUM PUMP OVERLOAD | AF103 | VACUUM PUMP OVERLOAD
CC1 | DigitalInput06 |  | AF103
CC1 | DigitalInput07 |  | AF103
CC1 | DigitalInput08 |  | AF103
CC1 | DigitalInput09 |  | AF103
CC1 | DigitalInput10 |  | AF103
CC1 | DigitalInput11 | LT001 LEVEL SWITCH HIGH | AF103 | LT001 LEVEL SWITCH HIGH
CC1 | DigitalInput12 | LT001 LEVEL SWITCH LOW | AF103 | LT001 LEVEL SWITCH LOW
CC1 | DigitalInput01 | SEQUENCE ON | AF104 | SEQUENCE ON
CC1 | DigitalInput02 | SEQUENCE OFF | AF104 | SEQUENCE OFF
CC1 | DigitalInput03 | WATER PUMP 1-0-2 AUTO | AF104 | WATER PUMP 1-0-2 AUTO
CC1 | DigitalInput04 | WATER PUMP 1-0-2 MANUAL | AF104 | WATER PUMP 1-0-2 MANUAL
CC1 | DigitalInput05 | WATER FILL 1-0-2 AUTO | AF104 | WATER FILL 1-0-2 AUTO
CC1 | DigitalInput06 | WATER FILL 1-0-2 MANUAL | AF104 | WATER FILL 1-0-2 MANUAL
CC1 | DigitalInput07 | NAOH PUMP 1-0-2 AUTO | AF104 | NAOH PUMP 1-0-2 AUTO
CC1 | DigitalInput08 | NAOH PUMP 1-0-2 MANUAL | AF104 | NAOH PUMP 1-0-2 MANUAL
CC1 | DigitalInput09 | VACUUM PUMP 1-0-2 AUTO | AF104 | VACUUM PUMP 1-0-2 AUTO
CC1 | DigitalInput10 | VACUUM PUMP 1-0-2 MANUAL | AF104 | VACUUM PUMP 1-0-2 MANUAL
CC1 | DigitalInput11 |  | AF104
CC1 | DigitalInput12 |  | AF104
CC1 | AnalogInput01 |  | AF105
CC1 | AnalogInput01 | Temperature measurement T01 | AF105 | Temperature measurement T01
CC1 | AnalogInput01 |  | AF105
CC1 | AnalogInput02 |  | AF105
CC1 | AnalogInput02 |  | AF105
CC1 | AnalogInput02 |  | AF105